## Slide 1: LES of Vertical Turbulent Wall Fires
Ning Ren1, Yi Wang1, Sebastien Vilfayeau2, Arnaud Trouvé2
1. FM Global, Research, Norwood, MA, USA
2. University of Maryland, College Park, MD, USA

## Slide 2: Background
Industrial-scale fire tests
  Reduce fire loses
  Expensive
  Limited configurations
Fire modeling
  Understand physics
  Reduce large scale tests
Challenges
  Multi-physics
  Multi-phases
6 m

## Slide 3: Background

## Slide 4: Tools – FireFOAM
Open-source fire model (FM Global)
  www.fmglobal.com/modeling (2008-Present)
Based on OpenFOAM
  A general-purpose CFD toolbox (OpenCFD, UK)
Main features
  Object-oriented C++ environment
  Advanced meshing capabilities
  Massively parallel capability (MPI-based)
  Advanced physical models:
    turbulent combustion, radiation
    pyrolysis, two phase flow, suppression, etc.

## Slide 5: Background
Multi-physics interaction
Difficult to instrument
Vertical wall fire is a canonical problem
Industrial-scale Fire Test

## Slide 6: Background
Experiments
  Orloff, L., et.al (1974) PMMA
  Ahmad, T., et.al (1979)
  Markstein, G.H., de Ris, J. (1990)
  de Ris, J., et.al (1999)
Modeling
  Tamanini, F. (RANS,1975) PMMA
  Kennedy, L.A., et.al (RANS,1976)
  Wang, Y.H., et.al (RANS, 1996)
  Wang, Y.H., et.al (FDS, 2002)
  Xin, Y. (FDS, 2008)
Orloff, L, et.al (PMMA)
Challenges
  High grid requirement
  Buoyancy driven
  Mass transfer
  Reacting boundary flow

## Slide 7: Experiments –
Prescribed flow rates
  Propylene
  Methane
  Ethane
  Ethylene
Water cooled vertical wall
Diagnostics
  Temperature
  Radiance
  Heat flux
  Soot depth
(J. de Ris et al., FM, 1999)
(J. de Ris et al., Proc. 7th IAFSS, 2002)

## Slide 8: Grid requirement
Momentum driven flow (Piomelli et al., 2002)
Natural convection (Holling et al., 2005)
Wall Fires
  10~20 cells across the flame
    3mm to start
2 cm

## Slide 9: Mesh and B.C.
Base line – 3 mm grid
  ΔY ~ 3 mm, ΔX ~ 7.5 mm, ΔZ ~ 7.7 mm (ΔX :ΔY :ΔZ ~ 2.5:1:2.5)
  0.8 M cells, CFL = 0.5
  1.5, 2, 3, 5, 10, 15 and 20 mm
B.C.
  Cyclic (periodic) in span-wise
  Entrainment BC at the side
  Fixed temperature, T = 75 ˚C
  Propylene
    8.8, 12.7, 17.1, 22.4 g/m2s

## Slide 10: Turbulence Model
Zero for pure shear flow
O(y3) near wall scaling
Two deficiencies:
Laminar region with pure shear
Wrong scaling at near wall region
O(1) instead of O(y3)
K-equation model
WALE Model
No need to calculate ksgs
Wall adaptive local eddy viscosity model

## Slide 11: Wall-Adaptive Local Eddy Viscosity
K-Eqn Model
WALE Model

## Slide 12: Combustion Model
Eddy Dissipation Concept (EDC model)
  Mixing controlled reaction
K-equation model
WALE model

## Slide 13: Combustion Model
Eddy Dissipation Concept (EDC model)
  Mixing controlled reaction
Turbulence reaction rate
Diffusion reaction rate

## Slide 14: Radiation Model
Fixed radiant fraction
  Finite volume implementation of Discrete Ordinate Method (fvDOM)
  Optically thin assumption
Soot/gas blockage (χrad is reduced by 25%)
Fuel | Methane CH4 | Ethane C2H6 | Ethylene C2H4 | Propylene C3H6
Wall Fire (de Ris measurement) | 15% | 17% | 24% | 32%
Simulation (account for blockage) | 12% | 13% | 18% | 25%

## Slide 15: Flame topology
K
K
m/s
m/s
m/s
m/s
span-wise
wall-normal
stream-wise

## Slide 16: Flame topology
Wallace, J.M., 1985
kg/m/s
kg/m/s
Q, wall-normal view

## Slide 17: Heat flux – (de Ris Model)
Blockage
Side-wall
Flame radiation
temperature
Flame emissivity
Soot volume
fraction
Soot
depth
Heat transfer
coefficient
Fuel blowing effect

## Slide 18: Grid Convergence ( =17.1 g/m2s, C3H6)
Fully Turbulent
Fully Turbulent
Fully Turbulent

## Slide 19: Heat Flux – Flow Rates (Δ=3 mm, C3H6)

## Slide 20: Heat Flux – Fuels (Δ=3 mm)

## Slide 21: Convective Heat Flux: Blowing Effect
Pyrolysis
Zone
Flaming
Zone
Pyrolysis
Zone
Flaming
Zone
17.1g/m2s

## Slide 22: Temperature (C3H6)

## Slide 23: Summary and future work
Summary
  Near wall turbulence and combustion models are important
  Good agreements are obtained for wall-resolved modeling
  10~20 cells across the flame are needed
  Convective heat flux is important in the downstream flaming zone
Future work
  Test soot model for radiation
  Improve turbulence and combustion models for coarse-grained modeling
  Wall function study

## Slide 24: Ongoing work – wall function
Log-Law
Blowing effect (Stevenson, 1963)

## Slide 25: Ongoing work – wall function
(Δ=15 mm)
(17.1 g/m2s, C3H6)

## Slide 26: Ongoing work – wall function
Fuel blowing effect
(Δ=15 mm)

## Slide 27: Acknowledgement
John de Ris
Funded by FM Global
  Strategic research program on fire modeling

## Slide 28: Temperature (C3H6)

## Slide 29: Temperature – Elevation (17.1 g/m2s, C3H6)
Inner layer
Outer layer

## Slide 30: Coarse grid
Convective heat flux
  Temperature gradient
  Combustion
Radiative heat flux
  Combustion

## Slide 31: A temporary approach
K-equation
K-equation, WALE
Minimize the influence of combustion
Better turbulence & combustion model needed in future