## Slide 1: Cargo Fire Suppression Using Oxygen Depleted Air from a Hydrogen Fuel Cell
The 8th Triennial Int’l Fire & Cabin
Safety Research Conference
Atlantic City, NJ
October 24-27, 2016
Shane Nicholson
Parker Hannifin Corporation
Aerospace Group
Steve Summer
Federal Aviation Administration
Fire Safety Branch
http://www.fire.tc.faa.gov

## Slide 2: Background
Aviation industry is pursuing efforts to install Hydrogen Fuel Cells on aircraft for a number of potential operations, such as the main battery, ram air turbine, APU, galley power, etc.
In addition, the byproducts of a Fuel Cell System
are being looked at to supply water onboard as well as Oxygen Depleted Air (ODA) for fuel tank inerting or cargo fire suppression

## Slide 3: Objective
Key objective of this research activity was to evaluate the effectiveness of ODA from a Hydrogen Fuel Cell system at maintaining fire suppression O2 levels following an initial nitrogen knockdown in an aircraft cargo compartment.
This testing was conducted in conjunction with Parker Aerospace, Airbus and Ballard Power Systems on board the FAA Fire Safety Branch’s 737 test aircraft

## Slide 4: Test Concept

## Slide 5: Test Setup

## Slide 6
Shelter Housing Fuel Cell System
Instrumentation Trailer
Hydrogen Bottle Bank
Nitrogen Bottle Bank

## Slide 7
Nitrogen Bottle Bank
Sonic Choke (N2 Inlet to Bay)
Leakage Flow Control/Meter
ODA Bypass Control
ODA Inlet to Cargo Bay

## Slide 8: Cargo Bay Instrumentation

## Slide 9
N2/ODA distribution manifold
Leakage flow source
Instrumentation access panel leading to outflow valve
Instrumentation Tree
Cargo Bay Instrumentation – View looking Aft

## Slide 10
Hydrogen Fuel Cell System – Ballard Engineering Reference System (BERS)
System Power Supply
System Control Panel
Load Bank

## Slide 11: Ballard ERS Features (FCvelocityÒ-9SSL)
Self-Contained Fuel Cell System Developed as an Engineering Design & Integration Tool

## Slide 12: Test Plan
Conduct initial N2 knockdown to ~11% O2, followed by ODA to evaluate capability of maintaining the inert environment
Once target suppression achieved vary flows to evaluate sensitivity
Conduct three tests to evaluate repeatability of results
Analytical calculations of cargo bay O2 concentrations based on known flowrates and concentrations of ODA, leakage flow and N2 flow used for further validation of results

## Slide 13: Test Procedures
Initiate leakage flow (initial flowrate of ~18.85 scfm)
Initiate ODA flow to ambient (@ BERS initial conditions of 1.8 stoich, 18.85 scfm, 10.6 %O2)
Perform initial N2 knockdown (~160 cfm for approximately 2 minutes)
Switch ODA flow to Cargo Bay
Allow for stabilization of Cargo Bay O2 concentrations
Modify leakage and BERS conditions based on test plan
After each change of condition, allow time for stabilization of Cargo Bay O2 concentrations

## Slide 14: ODA Quality 10.6% with SRair=1.8
% Oxygen in ODA

## Slide 15: Stack Current Setting 189 Amps
BERS ODA discharge flow set by load current to meet 18.85 scfm leakage plus gas supply and bay sampling extraction of 0.5 scfm
Total
ODA
Vol
Flow

## Slide 17
Leak in ODA bypass valving led to incomplete N2 knockdown of cargo bay

## Slide 20
Water content begins to affect leakage readings

## Slide 21
Increased leakage flow appears to have not been achieved due to water content

## Slide 22: Summary
ODA from the fuel cell system exhibited potential to maintain an oxygen deprived environment under a variety of operating conditions.
Results with increased leakage flow raise questions, as expected increase in O2 concentration was not observed.
  Cause is attributed to incorrect leakage flow readings caused by increased water content (increased leakage flow never actually achieved)

## Slide 23: Next Steps
Final report will be developed and published on www.fire.tc.faa.gov
Further data is needed on actual O2 concentration required to suppress a cargo fire, particularly with increased humidity resulting from ODA flow