## Slide 1: Radiant Panel Update

## Slide 2: Since the October Meeting
Sent out survey to all labs to get their radiant panel dimensions and comments on Workbook
  13 Responses
Training Video
  First draft is completed
Round Robin
  Get started as soon as possible

## Slide 3: Survey Results
Chart: 
| Zero Position | Chamber dimensions | Chamber insulation | Viewing Window | Chimney | Panel Placement | Drawer | Drawer heat shield | Retaining frame | Hook and loop frame | Pilot Burner | Thermocouple | Calorimeter fixture | Data Acquisition | Timing Device | Ruler | Tape Test | Zero position calibration | Heat flux ranges | System upset | 3 Position check | Time Limit | System recheck
Comply | 0.42857 | 0.71429 | 1 | 0.78571 | 0.71429 | 0.57143 | 0.35714 | 0.57143 | 1 | 0.85714 | 0.57143 | 0.5 | 0.85714 | 0.5 | 1 | 1 | 1 | 1 | 0.35714 | 0.85714 | 0.64286 | 0.92857 | 0.5
Easy Fix | 0.21429 | 0 | 0 | 0 | 0.21429 | 0.28571 | 0 | 0.28571 | 0 | 0.14286 | 0.35714 | 0.5 | 0.071429 | 0.10714 | 0 | 0 | 0 | 0 | 0.10714 | 0.071429 | 0.071429 | 0 | 0.14286

## Slide 4: Drawer Change
Old Drawer
New Drawer
New drawer fills out entire width of the chamber
Doesn’t allow air-flow around drawer while testing

## Slide 5: Drawer Change
Smaller drawer would leave a bigger gap and could allow air to flow through
FAA has observed skewed flame in certain labs with air flow problems

## Slide 6: Training Video
Based on the new Workbook
Purpose of the video is to help make the test procedure more consistent across all testing labs and to help new labs
First draft is completed
Revisions are currently in progress
Re-shoots and final revisions planned for after this meeting

## Slide 7: Training Video

## Slide 8: Round Robin
Request for participants
Certain materials already selected
Request for “borderline” materials
Set points and chamber temperature along with calibration and test data
Start as soon as possible

## Slide 9: Questions?