## Slide 1: PIV in the OSU by RIO, PHD

## Slide 2: Introduction
FAA’s PIV system was set up around an OSU rate of heat release apparatus
PIV is a non-intrusive, whole flow field velocity measurement technique

## Slide 3
*From www.dantecdynamics.com
Particle Image Velocimetry
Peak Detection
Cross-Correlation

## Slide 4: Setup
Camera
Laser
Measurement Plane
OSU

## Slide 5: Setup
PIV Measurement Area
2.60” wide x 1.94” high

## Slide 9
PIV Laser
Camera
Seeder
Orifice Plate
Low Pressure Tap
Aluminum Oxide Powder
500# ≈ 35 micron

## Slide 10: PIV Measurement Details
Acquisition Settings
  Time between pulses
    300 μs
  Trigger rate
    15 Hz
  Number of Images
    500
  Time domain
    33.3 seconds
Analysis Settings
  64 x 64 Interrogation Area
  50% Overlap
  Peak Validation 1.2 relative to nearest peak
  Moving Average local neighborhood validation
Resulting Vector Map
  49 x 36 vectors
  1764 total vectors per measurement area

## Slide 11
7/8” from left wall
Sample Side
Glowbar Side

## Slide 12
1 7/8” from left wall
Sample Side
Glowbar Side

## Slide 13
2 7/8” from left wall
Sample Side
Glowbar Side

## Slide 14
3 7/8” from left wall
Sample Side
Glowbar Side

## Slide 15
4 7/8” from left wall
Sample Side
Glowbar Side

## Slide 16
5 7/8” from left wall
Sample Side
Glowbar Side

## Slide 17
6 7/8” from left wall
Sample Side
Glowbar Side

## Slide 18
7 7/8” from left wall
Sample Side
Glowbar Side

## Slide 19
8 7/8” from left wall
Sample Side
Glowbar Side

## Slide 20
9 7/8” from left wall
Sample Side
Glowbar Side

## Slide 21
10 3/8” from left wall
Sample Side
Glowbar Side

## Slide 22
Mean V Velocity = 0.385 m/s
Std Dev = 0.313
%Std Dev = 81%
7/8” from left wall

## Slide 23
Normalized Vertical Velocity Turbulence Intensity
Normalized Vertical Velocity

## Slide 24
Center Point Average Velocity Across Chamber

## Slide 25
Sample Side
Glowbar Side
Not to Scale!

## Slide 26: Summary
PIV measurements were successfully made in the OSU
High levels of turbulence and non-uniform flow fields were measured
Possible improvements will be tested to determine if turbulence can be reduced and flow field can become more uniform
Will attempt to perform measurements when OSU is “hot” to characterize total flow field (forced + buoyant)
Will take suggestions for other possible measurements